CellPoint Remote Configurator - User Guide

Revision 1.0

Accessing the System

Website URL:
http://cellpoint.datasense.net:5025/

- Open your web browser (Chrome, Edge)

- Type or paste the URL above into the address bar

- Press Enter to load the login page

Logging In

- Enter your username and password

- Click the Login button

- You'll see the main dashboard with your assigned devices

Main Dashboard

The screen is divided into two main sections:

Left Panel (Device List)

- Shows all devices you have access to

- Organized by clusters (groups of devices)

- Search bars at the top to find specific devices

Right Panel (Device Details)

- Shows configuration and settings for the selected device

- Different tabs for different types of information

Finding Your Devices

Search Options

Search by Cluster:

Type in the top search box to filter clusters

Example: Type "003.001" to find clusters starting with that

Search by Device:

Type in the second search box to find specific devices

Example: Type "033" to find all water meters

Viewing Device Configuration

Selecting a Device

- Click on any device from the list

- The right panel will show the device details

- You'll see three tabs at the top:

  - Installation - Location and basic info

  - Settings - Device-specific configuration

  - Communication - Network settings

Editing Device Settings

How to Edit

- Select a device from the list

- Click the Edit button (blue button at the bottom)

- Modify the settings you need to change

- Click Save Changes when done

- Or click Cancel to discard changes

Important Notes: Fields marked with "Manager Access" require manager permissions Grayed-out fields cannot be edited by regular users

Configuration Tabs

Installation Tab

Location Information:

- Timezone - Set the device's time zone

- Installer Name - Record who installed the device

- Location Description - Describe where the device is located

- Latitude/Longitude - Set device coordinates

- Map View - See the device location on a map

Settings Tab

Device-Specific Configuration

The settings vary by device type:

Water Meter Settings

- Transmit Interval - How often the device sends data (hours)

- Reading Interval - How often the meter is read (minutes)

- Meter Model - Type of water meter installed

- Unit - Measurement unit (Liters, Gallons, Cubic feet)

- Pulse Ratio - Meter reading ratio

- Meter ID - Unique identifier for the meter

4-20mA Sensor Settings:

- Transmit Interval - How often data is sent

- Reading Interval - How often readings are taken

- Settling Time - Wait time before reading (milliseconds)

- Port A/B Configuration - Settings for each sensor port

- Meter Model - Enable or disable each port

- Unit - Type of measurement

- Min/Max Values - Calibration range

Alert Configuration (for 4-20mA sensors):

- High/Low Warning - Set warning thresholds

- High/Low Critical - Set critical alarm levels

- Enable/Disable - Turn alerts on or off

- Delta Alerts - Detect sudden changes

Loadcell Settings:

- Similar to 4-20mA but specific to load measurement

- Coefficients A & B - Calibration values

0-10V Sensor Settings:

- Similar to 4-20mA but for voltage sensors

- Two ports (A and B) can be configured independently

Communication Tab

Network Settings (Usually locked for regular users)

- Server hostname - Where data is sent

- Port - Communication port number

- APN - Mobile network access point

- Antenna - Internal or external

- Cellular Network - LTE, 2G, or mixed

- LTE Technology - CatM or NB-IoT options

Device ID Prefixes

Devices are identified by their ID number:

- 033xxx = Water Meter

- 038xxx = 4-20mA Sensor

- 043xxx = Loadcell

- 044xxx = Tilt Sensor

- 046xxx = 0-10V Sensor